ABSTRECT

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S.No.** | **Description Of Work** | **Godwan No. 4 to 8** | **Malasis Road** | **Unit** | **Total Qm3** |
| 1 | Exvection of Roadway Soft Murum | 1567.300 | 244.800 | M3 | 1812.100 |
| 2 | Conveying of Exuviated Material as per Item No. 1 | 1567.300 | 244.800 | M3 | 1812.100 |
| 3 | Bolder hard Stone Filling | 958.300 | - | M3 | 958.300 |
| 4 | Hard Murum Spreading. | 958.300 | - | M3 | 958.300 |
| 5 | Compaction of Road way By Soil Complete. | 1400.000 | 560.000 | M2 | 1960.000 |
| 6 | Rubble (Soiling ) Filling As Par Providing & laying Mezerment Sheet | 295.050 | 121.200 | M3 | 416.250 |
| 7 | Providing & laying Soft Murum as per Mezerment Sheet | 115.850 | 31.200 | M3 | 147.050 |
| 8 | Providing & laying M-10 as per Mezerment Sheet | 64.612 | - | M3 | 64.612 |
| 9 | Pipe 600 mm Supplying 0/80 waterline | 30.000 | - | RM | 30.000 |
| 10 | Pipe Supplying & Fitting Ch.0/000 & 0/50 Crossing. | 30.000 | - | RM | 30.000 |